Main Office Ph: (518) 406-5439

WWW.TECHPLUSLLC.COM

6 Hearthside Drive

Technology Plus LLC

Service: Jeff Baxter

Ph: (518) 703-4590

jeff@techplusllc.com

|  |  |  | Ref # | Date | P.O. Number |
| --- | --- | --- | --- | --- | --- |
| Ballston Lake, NY 12019 | Model | Serial # | Q4263 | 1/6/2023 | WO-19377 |
|  | INN800 | G-13-1542 | Technician | Jeff Baxter |  |
| Service Location |  |  | Customer I Bill To |  |  |
| NY04 Schenectady Reserve CTR Aerco water heater repair |  |  |  |  |  |

Equipment Information

Service Report

THIS IS NOT AN INVOICE

Description of Services

Mileage out:	Mileage in:

Saratoga, NY ***

| wi |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Replace cartridge circulator pump in Innovation 800 water heater G-13-1542. Isolate water heater drain remove pump. a |  |  |  |  |  |
| Install new pump fill water heater check water connections rewire pump. Adjust water temperature control in tuning menu |  |  |  |  |  |
| In C-more control. Water heater back in service. |  |  |  |  |  |
| Item | Qty | MATERIALS |  | Each | Amount |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
|  |  |  |  | $ - | - |
| Add Per Diem per: https://www.perdiem101.com/conus/2021 |  |  |  |  |  |
| Minimum Billing 4Hrs. For Emergency Callouts |  |  | Travel add actual miles under quantity |  |  |
| SERVICE RATES: $130/Hr Mon-Fri 8-5PM, $185/Hr OT after 5pm, $250Hr Weekends & Holidays MILEAGE RATES: $1.75 mile +$130/Hr. R/T from Saratoga Springs, NY+ Taxes |  |  |  | Sub Total $ - |  |
|  |  |  |  | Tax $ - |  |
| Customer Signature and Date |  |  |  | Total $ - |  |
| Print Customer Name, Phone #, & Email address |  |  |  |  |  |