INVOICE #:	19-090  						Date: 10/27/2019

Billing Address:							Job Location:

CMI Management                                             NY024-208

5285 Shawnee Rd suite#510                            CSS#-19677

Alexandria VA 22312

Check and replace one CT for air handler second floor AH 122 fan motor and one CT for air handler AH 125

Total Labor 2 Hours one electrician                         $310.00

Two CT sensor                                                        $140.00

TOTAL AMOUNT DUE:  $450.00