| PROPOSAL |  |
| --- | --- |
| INVOICE | X |
| DIAGNOSTIC |  |

Today's Date: 2/11/2020

Customer Name: Joe Bayne

| CSS/INVOICE# 22080 | DATE(S) OF SERVICE | LOCATION Fort Wadsworth |
| --- | --- | --- |

| JOB DESCRIPTION High efficiency Lochinvar boiler needs complete maintenance which will consist of disassembling the entire burner front plate, reinstall new gaskets, new flame sensor and electrode assemblies will be replaced. All gaskets need to be replaced after disassembly. Burner chamber will be completely cleaned, brushed and vacuumed, this will complete the maintenance of the boilers. |  |
| --- | --- |
| PARTS blower arm gasket flame sensor w/gasket ignitor with gasket gasket door rubber shipping and handling | COST $14.68 $99.00 $99.00 $74.26 $24.00 |
| LABOR 1 mechanic for 2 days to service both boilers | COST $2,000 |
| TAX |  |
| TOTAL | $2,310.94 |