| PROPOSAL |  |
| --- | --- |
| INVOICE | X |
| DIAGNOSTIC |  |

Today's Date: 2/11/2020

Customer Name: Joe Bayne

| CSS/INVOICE# 22613-03 | DATE(S) OF SERVICE | LOCATION Fort Wadsworth |
| --- | --- | --- |

| JOB DESCRIPTION Bldg 358 Boiler #2 will not fire Blank Digital Screen. Reset the computer after maintenance was done. Cleaned all sensors and fixed the wiring that was shoved in the board which may have caused the blank screen. |  |
| --- | --- |
| PARTS | COST |
| LABOR Labor | COST $350.00 |
| TAX |  |
| TOTAL | $350.00 |