FEMS FIS Ticket #3432718

Region A2

Zone 2

FAC ID: NY070

POC: (AFOS) John Granata 585-944-9099 (RFOS) Scott Kawski 814-392-6879

Priority-Routine

Description of Repair:

Replace final and flash collar on flagpole.  They were both damaged by a lightning strike in July of 2021.

Make repairs to sidewalks and brick pavers damaged by lightning strike in July 2021.  Pavers need to be removed and reseated as they are now uneven and have vegetation growing in between bricks.  Sidewalk sections need replacement as they were only temporarily repaired.  They are starting to become uneven and could possibly cause a tripping hazard.

Make repairs by sealing cracks, holes and seams on Training and AMSA buildings.  Over the summer I noticed that wasps were starting to nest in the cracks and seam on both buildings. Holes in brick work should be filled with a color of sealant that matches the surrounding area.  There are numerous seams that need repair the are located all over the facility.  They are located at the base of most of the windows on the training building.  The sealant should match the color of the window trim work.  There are also many cracks/gaps located where the soffit and facia meet.  This should be repaired with concrete and then painted white to match the soffit color.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 1/9/2026

-Associated Asset ID: NY070

Recommend: Hunold Contracting INC.