CSS 97106

Region 4A

Zone 1

FAC ID: PA035

POC: (AFOS) Cindy Croyle 412-477-7816  (RFOS) Scott Kawski 814-392-6879

Priority- Routine

Description of Repair:  Repair exterior mechanical room door - picture attached.  Replace the astragal strip on the exterior of the door.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 3/11/2024 1000 hours

-Associated Asset ID: PA035

Suggested/Reccomended Vendor: