CSS 98701

Region 4

Zone 1

FAC ID:  PA118

POC: (AFOS) Cindy Croyle 412-477-7816  (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair:  Repair wash rack recycler system.  The one actuator on the recycler is making a loud noise and a lot of air is coming from this area.  HAYWARD, TYPE PMS15, picture attached.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 8/7/2024 1100 hours

-Associated Asset ID: PA118

Recommend: