CSS 99006

Region 4A

Zone 2

FAC ID:  NY030

POC: (AFOS) John Granata 585-944-9099  (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair:  Repair pressure relief valve on the heating loop.  During the PM of the facility, it was discovered water pouring out of the pressure relief valve heating loop and on the floor.  The pumps were shut off and the water leak has been contained.  The pressure relief valve will need replacing before heating season start up.  See attached pictures.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 9/16/2024 1030 hours

-Associated Asset ID: NY030

Recommend: