CSS 99061

Region 4A

Zone 2

FAC ID:  NY010

POC: (AFOS) Chanel Stasio 716-275 4317   (RFOS) Scott Kawski 814-392-6879

Priority- Urgent

Description of Repair:  Perform mold abatement in the basement in rooms 21 and 22.  On 9 September a mold assessment was done in rooms 21-23 located in the basement. Mold was identified, non threatening, and needs to be removed by a certified NYS specialist. Please see attached SOW and mold assessment report.

-Type of Funding: (COR input)

-Paying Activity Code: (COR input)

-Date & Time: 9/25/2024 1530 hours

-Associated Asset ID: NY010

Recommend:   Expert Environmental and Construction Group. POC Matt Popen 800-387-7914 ext 712.