Diagnose and repair leaking boiler circulator pump, boiler #1, building 208.  If more cost effective to the government, replace.

Proposal:

Found leaky circulator pump off of Triad boiler located in building 208 mechanical room. They pump controls heat from #1 triad boiler to feed heating loop for entire building. Work consists of draining down triad boiler. Removing circulator pump and installing new gaskets, rewiring pump, purge all air out of system to put into full operation

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Diagnose and repair leaking boiler |  |  |  |  |  |  |  |  |
| CSS #24878 - CMI # 8215 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.28.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 3 |  |  |  |  |  | $ 450.00 |
| 1.2 Direct drive pump |  |  |  |  | $ - | $ - | $ - | $ 1,089.45 |
| 1.3 Gaskets/Bolts |  |  |  |  |  |  |  | $35.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,574.45 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic Fee |  | 1 |  |  |  |  |  | $ 450.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,024.45 |