| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY050 |  |  |  |  |  |  |  |  |
| UASRC An exterior water faucet |  |  |  |  |  |  |  |  |
| CSS #25156 - CMI # 8684 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.15.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 6 |  |  |  |  |  | $ 720.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 704.64 |
| 1.3 Misc |  |  |  |  |  |  |  | $284.93 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,709.57 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,709.57 |

UASRC An exterior water faucet, located to the rear of the motor pool, is leaking. Large puddle has formed, and repair is required.

Proposal to:

Rebuild Zurn wall hydrant