Backflow preventer is leaking in boiler room. Backflow preventer also needs an annual inspection.

Repair and Relocate Existing Backflow Preventer per NYS Inspector John E Cimino

Price Includes:

Watts 009 Backflow Preventer Repair Kit (2 Week Lead Time)

Required Copper Tubing and Fittings to Relocate

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY059 |  |  |  |  |  |  |  |  |
| Backflow preventer is leaking in boiler room. |  |  |  |  |  |  |  |  |
| CSS #25077 - CMI #10286 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.17.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 140.00 | 6 |  |  |  |  |  | $ 840.00 |
| 2 techs 3 hours each. |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,260.23 |
| 1.3 Retest Backflow device |  |  |  |  |  |  |  | $150.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,250.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,250.23 |