Toilet in first floor Lady's room will not flush. Appears to be a fault with auto flush valve.

- Remove and replace toilet auto flush valve

- Provide valve assembly from oem manufacturer

- Provide 1 year warranty

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY060 |  |  |  |  |  |  |  |  |
| Toilet in first floor Lady's room will not flush. |  |  |  |  |  |  |  |  |
| CSS #20115 - CMI # 6046 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 5 |  |  |  |  |  | $ 600.00 |
| 1.2 Valve Assembly |  |  |  |  | $ - | $ - | $ - | $ 596.05 |
| 1.4 Shipping |  |  |  |  |  |  |  | $ 9.95 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,206.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,206.00 |