| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The physically challenged toilet |  |  |  |  |  |  |  |  |
| CSS #24993 - CMI # 8230 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.18.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 4 |  |  |  |  |  | $ 480.00 |
| 1.2 Sloan rebuild &seal kit |  |  |  |  | $ - | $ - | $ - | $ 60.46 |
| 1.3 Misc |  |  |  |  |  |  |  | $108.09 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 648.55 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 648.55 |

The physically challenged toilet in the 1st floor male latrine (training building) won’t flush. Repair needed.

Proposal to:

- Rebuild (1) commode flushometers

- Disassemble and clean mineral deposits from valve body.

- Install Repair/seal & diaphragm kits

- Install vacuum breaker assemblies