| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Temperature control needs to be replaced |  |  |  |  |  |  |  |  |
| CSS #25217 - CMI # 9321 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.16.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 119.00 | 1 |  |  |  |  |  | $ 119.00 |
| 1.2 Temperature control |  |  |  |  | $ - | $ - | $ - | $ 94.50 |
| 1.3 Misc/freight charge |  |  |  |  |  |  |  | $154.75 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 368.25 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 119.00 | 1 |  |  |  |  |  | $ 119.00 |
| Grand Total |  |  |  |  |  |  |  | $ 487.25 |

The large reach in refrigerator used by the NYSNG is not working. Unit is on 24 hours standby due to COVIN-19 emergency and will be cooking next week.

On 6/03 Tech found and installed a bad Evap motor.

On 6/09 It was reported that the unit was not cooling.

On 6/14 Tech was on site, he watched the unit come down to temp and then cycled. After it cycled it did not come back down to temp. Tech recommends replacing the temperature control.

Proposal to:

Remove and replace the temperature control.