leak coming from the kitchen ceiling light fixture and from the cold-water supply pipe, along with the filters, for the training facility ice machine.  Both are collocated next to each other in the same room.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AFR |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| leak coming from the kitchen ceiling light |  |  |  |  |  |  |  |  |
| CSS # - CMI # 8715 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6/11/2020 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 158.00 | 8 |  |  |  |  |  | $ 1,264.00 |
| 1.2 Materials |  |  |  |  | $ - | $ - | $ - | $ 1,068.80 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,330.80 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2330.30 |

Proposal to provide necessary labor and materials to perform the following work at the NYANG Recruit Center, 910 Raz Avenue, New Windsor, NY

Manitowoc Ice Maker

- Replace portion of domestic cold-water supply

- Replace entire Ice Maker water supply

- Install shut off valve

- Replace water filter housing and cartridge