The training facility kitchen freezer for the 411th EN BDE isn't working and all the food inside has now spoiled. Immediate repair is needed.

Diagnostic / Repair:

Tested electric system in unit. Found temperature control not working, jumped out control and test ran unit. Also found compressor for unit not working will order new parts.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| The training facility kitchen freezer |  |  |  |  |  |  |  |  |
| CSS #26972 - CMI #10356 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.14.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 114.00 | 6 |  |  |  |  |  | $ 684.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,194.32 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,878.32 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ 430.30 |
| Grand Total |  |  |  |  |  |  |  | $ 2,308.62 |