During agreed repairs on CSS 30341, Wo 12872, technician discovered additional leak and

suggested necessary repairs to better support piping for AH#4 chilled water line as follows:

Proposal to:

- Isolate and repair leak

- Install additional strut, rod and clamp to better support supply line, including reinstallation of insulation.

- Check system operation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY116 |  |  |  |  |  |  |  |  |
| Found after while working |  |  |  |  |  |  |  |  |
| CSS #30341 - CMI #13353 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.09.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 163.00 | 12 |  |  |  |  |  | $ 1,956.00 |
| 2 men 6rs each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 300.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,256.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,256.00 |