| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Handicap toilet in the Second-floor female |  |  |  |  |  |  |  |  |
| CSS #25198 - CMI # 8691 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 6.15.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 4 |  |  |  |  |  | $ 480.00 |
| 1.2 Sloan rebuild/seal kit/brass spud |  |  |  |  | $ - | $ - | $ - | $ 79.34 |
| 1.3 Misc |  |  |  |  |  |  |  | $111.87 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 671.21 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 671.21 |

Handicap toilet in the Second-floor female latrine is leaking from the flush valve and on to the floor behind the toilet.

Proposal to:

Rebuild (1) commode flushometers

- Disassemble and clean mineral deposits from valve body.

- Install Repair/seal & diaphragm kits

- Install vacuum breaker assemblies

- Install brass spud on water closet