Repair building Air Conditioning. Building has gone above 80 degrees w/ battle assembly this weekend.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY128 |  |  |  |  |  |  |  |  |
| Repair bldg Air Conditioning |  |  |  |  |  |  |  |  |
| CSS #30721 - CMI #13334 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 05.28.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 124.00 | 3 |  |  |  |  |  | $ 372.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 280.00 |
| 1.3 Misc |  |  |  |  | $ - | $ - | $ - | $ 154.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 806.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 806.00 |

Tech responded to EMERGENCY call on 5/21, CSS 30721, Wo 13329

Tech made repairs but stated that the sensors need to be replaced, Wo 13329 has been closed and invoiced for incurred.

Proposal to:

- Remove faulty York supply and return water temperature sensors.

- Remove and replace both sensors with new.

- Check for proper operation.

- Test operation.