Repair Refrigerator in the Mess Kitchen. The refrigerator is not working.

Proposal to:

Replace of Cond motor and blade.

| Funding Request |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NY128 |  |  |  |  |  |  |  |  |
| Repair refrigerator / Refrigerator is not cooling |  |  |  |  |  |  |  |  |
| CSS #32147 - CMI #14837 |  |  |  |  |  |  |  |  |
| Prepared By: V. Fernandez |  |  |  |  |  |  |  |  |
| 08.18.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 2.5 |  |  |  |  |  | $ 212.50 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 445.88 |
| 1.3 Misc. |  |  |  |  |  |  |  | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 708.38 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 85.00 | 1 |  |  |  |  |  | $ 85.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 793.38 |