6 Urinals in building are not flushing. appears that flushometers may be jammed or clogged due to recent water main break in city of Albany.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| 6 urinals in building are not flushing. |  |  |  |  |  |  |  |  |
| CSS #22687 - CMI # 7322 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 15 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 253.85 |
| 1.3 Misc |  |  |  |  |  |  |  | $290.77 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,744.62 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,744.62 |

Proposal to:

- Rebuild (6) urinal flushometers

- Disassemble and clean mineral deposits from valve bodies.

- Install Repair/seal & diaphragm kits

- Install vacum breaker assemblies