Several lights out in building.
Basement lights are T12 bulbs and have none of this size on hand at facility

Proposal to:

Remove and replace 80 Linear Fluorescent Bulbs, 6 LED bulbs, 1pkg U-Bend Fluorescent Bulb, 1 LED Flush Mount Light & EcoSmart 60-Watt bulbs.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Several lights out in building |  |  |  |  |  |  |  |  |
| CSS #27796 - CMI #14858 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.03.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 4 |  |  |  |  |  | $ 320.00 |
| 1.2 Material |  |  |  | $ 581.42 | $ 40.70 | $ 622.12 | $ 124.42 | $ 746.54 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,066.54 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,146.54 |