Repair 5 emergency lights in the building.

Proposal to:

Remove and replace 3 120/277V LED Emergency Light, 1 Number of Faces 1 or 2, 1 6V DC,  Sealed Lead Acid Battery and 1 package Miniature Incandescent Bulb.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Repair 5 emergency lights |  |  |  |  |  |  |  |  |
| CSS #31084 - CMI #14859 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.03.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 80.00 | 2.5 |  |  |  |  |  | $ 200.00 |
| 1.2 LED Emergency Light x 3 |  |  |  | $ 99.84 | $ 6.99 | $ 106.83 | $ 21.37 | $ 128.19 |
| 1.3 Number of faces x 1 |  |  |  | $ 47.65 | $ 3.34 | $ 50.99 | $ 10.20 | $ 61.18 |
| 1.4 6V DC Sealed Lead Acid battery |  |  |  | $ 20.91 | $ 1.46 | $ 22.37 | $ 4.47 | $ 26.85 |
| 1.5 Misc |  |  |  |  |  |  |  | $ 7.50 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 423.73 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 80.00 | 1 |  |  |  |  |  | $ 80.00 |
| Grand Total |  |  |  |  |  |  |  | $503.73 |