Boiler # 2 Exhaust has become separated from the boiler. Connection is rusted and needs to be replaced.

Proposal to:

- Service call

- Remove insulation and inspect piping.

Remove decayed piping and reducing collar.

Replace pipe, collar, and insulation.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Boiler # 2 Exhaust |  |  |  |  |  |  |  |  |
| CSS #34200- CMI #16907 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 04.13.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 262.58 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 244.52 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,467.10 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,467.10 |