Repair Boiler #1, No Heat in Building

Proposal to:

- Replace the Inducer Fan Motor

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY001 |  |  |  |  |  |  |  |  |
| Repair Boiler #1, No Heat |  |  |  |  |  |  |  |  |
| CSS #91941 - CMI #21067 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 02.03.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 120.00 | 8 |  |  |  |  |  | $ 960.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 699.72 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,659.72 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred costs |  |  |  |  |  |  |  | $ 360.00 |
| Grand Total |  |  |  |  |  |  |  | $ 2,019.72 |