Repair Glycol Tank. Tank is in alarm due to low glycol in tank.

Proposal to:

Fill tank with 30 gallons of aluminum safe glycol mixture (50-50 %)

Laars Boiler #2 G18443712/S# 443712

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Glycol Tank |  |  |  |  |  |  |  |  |
| CSS #0062 - CMI #19214 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.31.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 172.00 | 8 |  |  |  |  |  | $ 1,376.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 972.00 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 86.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,434.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Initial Diagnostic |  |  |  |  |  |  |  | $ 129.00 |
| Grand Total |  |  |  |  |  |  |  | $2,500.00 |