Repair pump in vehicle wash rack, plumping is leaking.

Proposal to:

- Replace frozen and broken water piping to pump/filter system.

Proposal Excludes:

1. Parts or materials not herein listed.

2. Labor to replace parts or materials not here in listed.

3. Pump or filter assembly.

4. Permits or fees.

Note: Material misc pipe and fittings

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair pump in vehicle wash rack |  |  |  |  |  |  |  |  |
| CSS #1075 - CMI #18725 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 08.16.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 470.00 |
| 1.3 Misc |  |  |  |  | $ - | $ - | $ - | $ 50.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,120.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $1,120.00 |