The engine block warmer for the training facility diesel generator isn't working. Immediate replacement is needed for the generator to work properly in winter months".

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Engine block warmer for the training |  |  |  |  |  |  |  |  |
| CSS #27566 - CMI #10701 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.17.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 10 |  |  |  |  |  | $ 1,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,030.62 |
| 1.3 Misc |  |  |  |  |  |  |  | $206.12 |
| Grand Total |  |  |  |  |  |  |  | $ 2,236.74 |

| Scope of work involved at Onan/ Cummins Diesel 250KW Generator |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Remove faulty engine coolant block heater from Emergency Generator unit. |  |  |  |  |  |  |  |
| 2. Install Replacement block heater, retrofit piping to engine, wire to controls. |  |  |  |  |  |  |  |
| 3. Drain engine coolant to allow for replacement of block coolant heater. |  |  |  |  |  |  |  |
| 4. Replace engine coolant when new heater is installed. |  |  |  |  |  |  |  |
| 5. Operation of generator after repairs is Not included and will be done by others. |  |  |  |  |  |  |  |