Sump pump has failed in Pump House causing flooding of building.  GFI also tripping.  Please evaluate/repair with the vendor that you have on site today.

Proposal to:

Remove and replace 8 probes with new.

Remove and replace 8 adaptors and wires.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Sump pump has failed in Pump |  |  |  |  |  |  |  |  |
| CSS #32427 - CMI #14930 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.25.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 115.00 | 4 |  |  |  |  |  | $ 460.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,064.00 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 275.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,799.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,799.00 |