NO HOT Water in training building. Error code on heater "Service Required"

Proposal to furnish the necessary labor, material, and supervision required to replace possible warranty repair on Bradford White water heater.

Our proposal is based on the following:

1. Pick up warranty part.

2. Replace part and test water heater operation.

3. Return part for warranty credit.

Our proposal excludes the following:

1. Parts or materials not herein listed.

2. Labor to replace parts or materials not here in listed.

3. If no credit on warranty.

4. Permits or fees

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| NO HOT Water in training building. |  |  |  |  |  |  |  |  |
| CSS #33363 - CMI #15537 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.06.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 4 |  |  |  |  |  | $ 600.00 |
| 1.2 Blower Assembly (Possible Credit) |  |  |  |  | $ - | $ - | $ - | $ 401.19 |
| 1.3 Misc |  |  |  |  |  |  |  | $ 50.00 |
| 1.4 Shipping Next day air |  |  |  |  |  |  |  | $106.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,157.09 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 150.00 | 3 |  |  |  |  |  | $ 450.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,607.09 |