Repair LED lights in entranceway of ARC

Proposal to:

| Remove Emergency Lighting ballast located in ceiling area. Install a new unit. Retrofit |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| emergency circuit wiring from ballast to two LED fixtures in vestibule. Replace LED driver in one fixture. Service call 9/28/2022 to check out problem with inoperable interior lighting fixtures. Trouble shoot lighting circuit. Circuit breakers check OK. Trace wiring for control.. Wiring to fixtures in above ceiling. Wiring located to Emergency Ballast. Ballast is faulty and needs to be replaced.. |  |

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair LED lights in entranceway of ARC |  |  |  |  |  |  |  |  |
| CSS #90050 - CMI #19373 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 06.17.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 110.00 | 4 |  |  |  |  |  | $ 440.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 826.07 |
| 1.3 Markup 20% |  |  |  |  | $ - | $ - | $ - | $ 165.21 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,431.28 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 300.00 |

| Grand Total |  |  |  |  |  |  |  | $ 1,731.28 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |