Repair Septic Tank Pump
Septic pump behind ARC burned out. Breaker will not reset.

Proposal to:

- Replace contactor

- Replace alternating relay

- Provide and install two electric box covers.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Septic Tank Pump Septic |  |  |  |  |  |  |  |  |
| CSS #90099 - CMI #17381 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 10.05.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 290.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,310.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic |  |  |  |  |  |  |  | $ 250.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,560.00 |