Compressor in OMS mechanical will not hold pressure. Moisture relief valve kicking in at about 50psi and will not hold any additional pressure.

Proposal to:

- Replace board and drain solenoid.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Compressor in OMS mechanical |  |  |  |  |  |  |  |  |
| CSS #90202 - CMI #19386 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.23.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 7 |  |  |  |  |  | $ 1,050.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 841.05 |
| 1.3 Trip |  |  |  |  |  |  |  | $ 75.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,966.05 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred cost |  |  |  |  |  |  |  | $ 532.95 |

| Grand Total |  |  |  |  |  |  |  | $ 2,499.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |