There is raw sewage coming out of the drains in the female showers and male floor drains. Check of septic sump well shows low levels but no effluent coming into the sump well. Septic Pumps are not coming on at the holding tanks at OMS. Army Reserve Units are working at the facility this weekend.

Proposal for diagnostic:

Remove sewage injection pumps and test operation. Pumps could be jammed or burned out. If the pumps are jammed, then we will reinstall. If the pump is burned out, we will provide an estimate to replace said pump.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY011 |  |  |  |  |  |  |  |  |
| Repair Septic System |  |  |  |  |  |  |  |  |
| CSS #90674 - CMI #19773 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.04.23 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 16.00 | 75 |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - |  |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,200.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,200.00 |