Repair A/C condensing unit that does not work, install screening around bottom of unit so grass clippings do not clog coils.

Proposal to:

Replace flow control switch for outdoor York chiller. Work consists of isolating and drain down supply return chilled water lines, removing existing flow switch and re-install new one. Re-wiring to accept new switch design.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair A/C condensing unit |  |  |  |  |  |  |  |  |
| CSS #1236 - CMI #18242 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.07.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 50.00 | 16 |  |  |  |  |  | $ 800.00 |
| 1 Mechanic, 1 helper |  |  |  |  |  |  |  |  |
| 1.2 flow control switch – F61-MG-2 |  |  |  |  | $ - | $ - | $ - | $ 650.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,450.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Diagnostic fee |  |  |  |  |  |  |  | $ 200.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,650.00 |