Repair leaking baseboard piping.

Proposal to:

Found baseboard leak on 2nd floor leaking down through ceiling. Work consists of draining down baseboard loop cutting out 3/4” copper line and replace with new line will install purge valve and isolation valve to eliminate air that entered system.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair leaking baseboard piping |  |  |  |  |  |  |  |  |
| CSS #1578 - CMI #18258 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 09.14.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 8 |  |  |  |  |  | $ 1,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 285.60 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,285.60 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Incurred |  |  |  |  |  |  |  | $ 325.00 |
| Grand Total |  |  |  |  |  |  |  | $ 1,610.60 |