Glycol feeder is empty, leaks have been repaired, need to purchase and install approx.: 25 Gallons of Glycol. Check refrigerant levels, add required to meet manufactures specifications

After replacement of flow switch there was not enough glycol in transfer tank to re-fill system back up, need at least 25 gallons of glycol, system freon levels must be checked all air must be eliminated from system.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Glycol feeder is empty |  |  |  |  |  |  |  |  |
| CSS #1702 - CMI #18282 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 07.14.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 150.00 | 8 |  |  |  |  |  | $ 1,200.00 |
| 1.2 25 gallons R-410 |  |  |  |  | $ - | $ - | $ - | $ 1,260.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,460.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,460.00 |