| Additional Funding Request |  |
| --- | --- |
| NY024 | CSS #18106 WO 3389 ASSET#9699 |
| Description of Repairs | The existing defective water cooler will be disconnected, removed and disposed of. The new water cooler will be mounted to the wall in the same general location. The existing water source and drain piping will be connected to the new cooler. The new cooler will be plugged in to the existing electrical outlet. The unit will be started, tested and adjusted for best operation. |
| Diagnosis: Initial Work Order | Replace 1st Floor Water cooler. The coil is leaking it shut off and the leak is stopped the fountain is inoperative |
| Explanation of Additional Costs for Repairs | N/A |
| Additional Labor Cost to Perform Repairs | $ 750.00 |
| Additional Material Cost to Perform Repairs | $1165.00 |
| Shipping | N/A |
| Total Cost of Repair | $1,915.00 |