Boiler in building 358 has error message on screen "maintenance required"

High efficiency Lochinvar boiler needs complete maintenance which will consist of disassembling the entire burner front plate, reinstall new gaskets, new flame sensor and electrode assemblies will be replaced. All gaskets need to be replaced after disassembly. Burner chamber will be completely cleaned, brushed and vacuumed; this will complete the maintenance of the boilers.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Over & Above |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Boiler in building 358 has error message |  |  |  |  |  |  |  |  |
| CSS #22080 - CMI # 6872 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.13.19 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 16 |  |  |  |  |  | $ 2,000.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 310.94 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,310.94 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2310.94 |