Leak identified in the 305th area of B356

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Leak identified in the 305th area of B356 |  |  |  |  |  |  |  |  |
| CSS #26233 - CMI #10231 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 9.02.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 12 |  |  |  |  |  | $ 1,020.00 |
| 2 techs 6 hours each |  |  |  |  |  |  |  |  |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 350.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,370.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,370.00 |

Proposal to to furnish material and labor necessary for the completion of:

After diagnosing the problem, we found out that water leak is coming from mechanical room above. There is a pipe leak at mechanical room.

Here is my proposal:

*REPLACE PLUMBING SECTION.

*SEAL ALL AROUND CEMENT BLOCK.

*REPLACE DAMAGED CEILING TILES