Repair broken/exposed walkway Ballard light B208

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair broken/exposed walkway |  |  |  |  |  |  |  |  |
| CSS #27644 - CMI #10714 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 8 |  |  |  |  |  | $ 800.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 1,066.98 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,866.98 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site | $ 100.00 | 3 |  |  |  |  |  | $ 300.00 |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,166.98 |

Proposal to:

| 1.Remove broken lighting bollard from concrete pedestal. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Install a replacement Lighting bollard in same location. Old bollard is |  |  |  |  |  |  |  |  |  |  |
| obsolete, new bollard will match as close as possible. |  |  |  |  |  |  |  |  |  |  |
| New bollard will be LED type, dark bronze to match existing |  |  |  |  |  |  |  |  |  |  |
| wire to existing walkway lighting circuit. |  |  |  |  |  |  |  |  |  |  |