Sent over Ryan Linn, blocked flue switch did not function properly as required

Proposal to:

removing violations from 2 boilers inspection to pass state inspection. Triad Boilers must have proper safety isolation switch located on boiler to properly provide service isolation when providing service or maintenance on boiler. There are presently 2 emergency switches on wall located in mechanical room, however there is no isolation switch present on boiler to shut down during service or maintenance.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| blocked flue switch did not function |  |  |  |  |  |  |  |  |
| CSS #27684- CMI # 10292 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.18 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor, 1 Mechanic 1 helper 8 hours |  |  |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 300.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,500.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,500.00 |