Sent over Ryan Linn, blocked flue switch did not function properly as required

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| blocked flue switch did not function |  |  |  |  |  |  |  |  |
| CSS #27685 - CMI #10300 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.07.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor, 1 Mechanic, 1 helper 8 hours |  |  |  |  |  |  |  | $ 1,200.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 300.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,500.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| Grand Total |  |  |  |  |  |  |  | $ 1,500.00 |

Proposal to:

removing violations from 2 boiler inspection to pass state inspection. 2 Triad Boiler must have proper safety isolation switch located on boiler to properly provide service isolation when providing service or maintenance on boiler. There are presently 1 emergency switches on wall located in mechanical room, however there is no isolation switch present on boiler to shut down during service or maintenance.