Repair /Replace Domestic Hot Water Bronze Body Recirculate Pump in B356. The pump is inoperative.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair /Replace Domestic Hot Water |  |  |  |  |  |  |  |  |
| CSS #28128 - CMI #11463 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 12.23.20 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 6 |  |  |  |  |  | $ 600.00 |
| 1.2 B&G Bronze body pump |  |  |  |  | $ - | $ - | $ - | $ 563.31 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,163.31 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,163.31 |

JOB DESCRIPTION

B&G Bronze body pump. Isolate domestic hot water heater in bldg 356 in mechanical room. Remove electrical from pump and install a new bronze body pump. Rewire to put it back into operation.