Trouble shoot and repair inoperative room thermostat (Room 203 Building 208 ) No reading on thermostat and ceiling air vent is blowing cold air.

Proposal to:

- Replace VAV control on ceiling.

- Connect with all system and thermostat.

- Test new control unit.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Trouble shoot and repair inoperative |  |  |  |  |  |  |  |  |
| CSS #28190 - CMI #11466 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 1.19.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 85.00 | 10 |  |  |  |  |  | $ 850.00 |
| 2 guys 5 hrs each |  |  |  |  |  |  |  |  |
| 1.2 VAV Controller |  |  |  |  | $ - | $ - | $ - | $ 650.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,500.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  |  |  |  |  |  |  | $ - |
| 2.2 Truck Charge |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,500.00 |