Diagnose and Repair Boiler #2 ( Will Not Fire ) Building 208

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Diagnose and Repair Boiler #2 |  |  |  |  |  |  |  |  |
| CSS #29818 - CMI #12525 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 4.12.21 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 100.00 | 4 |  |  |  |  |  | $ 400.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 193.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 593.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Field Review at Site |  | 1 |  |  |  |  |  | $ 350.00 |
| Grand Total |  |  |  |  |  |  |  | $ 943.00 |

Proposal to:

Replace air pressure safety switch

Triad boiler in bldg 208. found system off on safety. Troubleshooted boiler and found air pressure switch defective. Could not jump out pressure switch due to safety reasons.