CMI Sub Contractor Fahrenheit discovered while on site - Repair two 80-gallon hot water heaters, 1 - Bldg 356 & 1 - Bldg 208. Both Dielectric nipples off the top of both tanks are rotted and need to be replaced.

Proposal to:

Found both rotted 1” dielectric unions, and nipples needing to be re-placed on two individual 75 gallon hot water heaters for domestic water 1- heater located in mechanical room for bldg #356 and 1- heater located in bldg #208 in sub- basement mechanical room. These repairs are necessary since these fittings could rupture at any time.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional Funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair two 80 gallon hot water heaters, |  |  |  |  |  |  |  |  |
| CSS #34868 - CMI #16652 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.11.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 112.50 | 16 |  |  |  |  |  | $ 1,800.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 667.36 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,467.36 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,467.36 |