CMI – Sub Contractor found while on site - Repair rotted heating line located in Bldg. 356, it is dripping and losing Glycol.

Proposal to:

Found rotted piping feeding heating coil located in upstairs Mezzanine, this piping is leaking and losing glycol, this line is leaking and losing glycol this line should be repaired before line ruptures.

Scope of work:

Isolate and drain down all glycol out of coil,

remove all piping which is damaged and re-pipe with new galvanized piping

fill system up with glycol remove all air out of system.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Funding Request |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Repair rotted heating line |  |  |  |  |  |  |  |  |
| CSS #34869 - CMI #16651 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 03.11.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 93.75 | 16 |  |  |  |  |  | $ 1,500.00 |
| 1.2 Material |  |  |  |  | $ - | $ - | $ - | $ 975.76 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 2,475.76 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 2,475.76 |