Repair A/C, condenser keeps shutting off and needs to be manually reset daily.

Proposal to:

Trane chiller could not run to air condition building 208 ordered new suction type sensors which were defective and waiting for factory parts to come in, however we cannot wait three weeks for factory sensors to come in and wired in temporary sensors to get machine running until parts arrive, this required additional labor costs as well as installing different sensors to get building up and running. The sensors will be no charge to customer.

| CMI Cost Estimate |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Additional funding |  |  |  |  |  |  |  |  |
| NY024 |  |  |  |  |  |  |  |  |
| Split Air Unit in room 258 NOC |  |  |  |  |  |  |  |  |
| CSS #762 - CMI #17647 |  |  |  |  |  |  |  |  |
| Prepared By: J. Bayne |  |  |  |  |  |  |  |  |
| 11.13.22 |  |  |  |  |  |  |  |  |
|  |  |  | Labor |  |  | Sub | OHP |  |
| Description | Rate | Hours | Cost | Material | Tax | Total | 20% | Total |
| 1. Repair Cost |  |  |  |  |  |  |  |  |
| 1.1 Labor | $ 125.00 | 5 |  |  |  |  |  | $ 625.00 |
| 1.1 Labor | $ 250.00 | 5 |  |  | $ - | $ 5.00 | $ 1.00 | $ 1,250.00 |
| Sub Total Repair Cost |  |  |  |  |  |  |  | $ 1,875.00 |
| 2. Initial Service Call Investigation |  |  |  |  |  |  |  |  |
| 2.1 Additional funding |  |  |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |  | $ 1,875.00 |